[image: image1.wmf][image: image2.wmf]            SafetyWorks! Toolbox Talks

Subject: Power Lines and Mobile Cranes
Instructor Note: This has been added to the Tool Box talks because electric line companies get very upset when a crane (or dump truck bed or other piece of heavy equipment) gets close to or touches a power line. It can also cost you your life!
Introduction: It is not uncommon to work around power lines; however, the potential hazards to workers are enormous; workers just have to work safer. 
Guide for Discussion 
How to Avoid Electrocution 
· Locate all power supplies. Besides this being the state law, it’s smart. 

· Have the Power Company inform you of the voltage and arc distances. 

· Shut off or insulate the power line(s) if possible. 

· Never allow a piece of equipment to break the safety zone (the distance required to avoid electric arc.) 
General Rules to Remember 
· Designate a competent lead signal person. 

· Communicate clearly with all members of the work crew. 

· Have all crewmembers watch the operation. 

· Be alert. 

· Watch for non-alert crewmembers.
Additional Discussion Notes: 
Remember: Whenever you are near a power line, be sure to minimize the risk by de-energizing or insulating the power source. Only then proceed with caution. At all times, try to avoid entering an arc zone. It is far better to be safe than sorry. 
Additional Discussion Notes: 
Who is responsible for the company assured grounding program or to install a ground fault interrupter system? 
Remember: The best way to eliminate the hazard of the “quiet killer” is to act as if each exposure to an electrical hazard may be your last. Never take electricity for granted, “it’s a killer.” 

NOTE: Always promote a discussion on any of the topics covered in the Tool Box Talks. Should any question arise that you cannot answer, don’t hesitate to contact your Employer or SafetyWorks!.
Subject:  Power Lines and Mobile Cranes
Meeting Conducted By: _____________________________  Date: ________________

Attendees

________________________________     ___________________________________

________________________________     ___________________________________

________________________________     ___________________________________

________________________________     ___________________________________

________________________________     ___________________________________

________________________________     ___________________________________

________________________________     ___________________________________

________________________________     ___________________________________

________________________________     ___________________________________

________________________________     ___________________________________

________________________________     ___________________________________

________________________________     ___________________________________

________________________________     ___________________________________

________________________________     ___________________________________

________________________________     ___________________________________

For additional Information or scheduling a FREE consultation, call 623-7900 or 

Toll FREE (877) SAFE345

Keep this training record and subject matter in the site office with the site manager!
SafetyWorks! ( 45 State House Station ( Augusta, Maine 04333

Phone: (207) 623-7900

Website: www.safetyworksmaine.com


